## S-5
Nepal Electricity Authority |  |  |  | REFERENCE AREA, FOR UPDATING THE ESTIMATES
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 5: Grand Summary (Excluding Custom Duty and VAT applicable in Employer's Country)
|  | FC: EUR | LC: NPR |  |  | Change if this value isn't 0
Schedule No. | Title | Total Price |  |  |  | 0 | 4
|  | Foreign Currency | Local Currency |  | Input File | W1-EIB-11-S-ABC.xlsx | HT, LT and Distribtuion Transformer | [5 empty] | FC | LC | ROW
1 | Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  | W1-EIB-11-S-3.xlsx | Design Services |  |  |  |  | S-1 | C | D | 12
2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country | [10 empty] | S-2 | C | D | 12
3 | Design Services | [10 empty] | S-3 | C | D | 12
4 | Installation and Other Services | [10 empty] | S-4 | C | D | 13
Grand Total to be carried forward to Letter of Price Tender |  | 0 | 0
[6 empty] | S-1-A | S-1-B | S-1-C | S-1-D
[6 empty] | S-2-A | S-2-B | S-2-C | S-2-D
S-3-A
[6 empty] | S-4-A.1 | S-4-A.2 | S-4-A.3 | S-4-A.4 | S-4-A.5
[7 empty] | S-4-B.1 | S-4-B.2 | S-4-C | S-4-D | S-4-E
[9 empty] | In cm | Reference in cm
[7 empty] | A | Item No Width | 1.2 | 1.3
[7 empty] | C | Total Quantity Width | 2.5 | 2.5
[7 empty] | D | Total Amount Width | 2.8 | 2.8
[7 empty] | E | Project Name Width | 2.5 | 1.5
ICB-DCSD-2078/79-DSUEP-EIB-W1
Note on I7: Binay Paudyal: Enter Number of Projects here. One time only
Note on J7: Binay Paudyal: Number of Projects - Calculated Automatically

## S-5-1
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project | [9 empty] | Exchange Rate Considered
Project Component Wise Summary of Costs (Excluding Custom Duty and VAT applicable in Employer's Country) | [10 empty] | USD 1 | EUR 1
|  |  |  | FC: EUR | LC: NPR |  |  |  |  | NPR | 119.17 | 136.47
Item | Description | Total Price |  | Total Cost in Foreign Currency Only | Total Cost in Local Currency Only
|  | Foreign Currency | Local Currency
1 | 2 | 3 | 4 | 5 = 3 + 4/EUR Rate | 6 = 3*EUR Rate + 4
1 | 11 kV Line
1.1 | Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  | S-1 | C | D | 9
1.2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  | S-2 | C | D | 9
1.3 | Design Services |  |  |  |  | S-3 | C | D | 9
1.4 | Installation and Other Services |  |  |  |  | S-4 | C | D | 9
T-1 | Sub Total of 11 kV Line
2 | Distribution Transformers and Switchgear
2.1 | Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  | S-1 | C | D | 10
2.2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  | S-2 | C | D | 10
2.3 | Design Services |  |  |  |  | S-3 | C | D | 10
2.4 | Installation and Other Services |  |  |  |  | S-4 | C | D | 10
T-2 | Sub Total of Distribution Transformers and Switchgear
3 | Low Tension Lines
3.1 | Plant and Mandatory Spare Parts Supplied from Abroad |  |  |  |  | S-1 | C | D | 11
3.2 | Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country |  |  |  |  | S-2 | C | D | 11
3.3 | Design Services |  |  |  |  | S-3 | C | D | 11
3.4 | Installation and Other Services |  |  |  |  | S-4 | C | D | 11
T-3 | Sub Total of Low Tension Lines
4 | Environment, Social Corporate Responsibility Works
4.1 | Mitigation Works |  |  |  |  | S-4 | C | D | 12
T-4 | Sub Total of Environment, Social Corporate Responsibility Works
Grand Total (Sum of T-1 … T-4) |  | 0 | 0 | 0 | 0

## S-1
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Summary of Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad (Excluding Custom Duty and VAT payable in Employer's country)
|  | FC: EUR | LC: NPR
Schedule No. | Title | Total Price
|  | Foreign Currency | Local Currency |  | FC | LC
A. | 11 kV Line |  |  | S-1-A | N | #N/A
B. | Distribution Transformers and Switchgear |  |  | S-1-B | N | #N/A
C. | Low Tension Lines |  |  | S-1-C | N | #N/A
Grand Total to be carried forward to Schedule 5 |  | 0 | 0

## Reference Sheet (hidden)
Column Number | Column Letter
1 | A
2 | B
3 | C
4 | D
5 | E
6 | F
7 | G
8 | H
9 | I
10 | J
11 | K
12 | L
13 | M
14 | N
15 | O
16 | P
17 | Q
18 | R
19 | S
20 | T
21 | U
22 | V
23 | W
24 | X
25 | Y
26 | Z
27 | AA
28 | AB
29 | AC
30 | AD
31 | AE
32 | AF
33 | AG
34 | AH
35 | AI
36 | AJ
37 | AK
38 | AL
39 | AM
40 | AN
41 | AO
42 | AP
43 | AQ
44 | AR
45 | AS
46 | AT
47 | AU
48 | AV
49 | AW
50 | AX
51 | AY
52 | AZ

## S-1-A
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad (Excluding Custom Duty and VAT payable in Employer's country)
FC: EUR
Item | Description | Country of Origin | Unit | Quantity |  |  |  | Total Quantity | Unit Price (CIP Project Site), Foreign Currency |  |  |  | Total Price
|  |  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Foreign Currency
1 | 2 | 3 | 4 | 5 |  |  |  | 6 = Σ5 | 7 |  |  |  | 8 = Σ(π(5 x 7))
|  |  |  | A | B | C | D |  | A | B | C | D
A. | 11 kV Line | [6 empty] | 0
A.1 | Conductors | [6 empty] | 0
1 | XLPE Overhead Covered Conductor, 100 sq mm. with 5% Sag |  | kms | 442.5466 | 163.352 | 374.5289 | 74.5246 | 1054.9522
2 | Mid-Span Joining Sleeve (Covered Conductor. rated min 500A) |  | set | 842.9459 | 311.1467 | 713.3884 | 141.9516 | 2009.4327
3 | Tension/Anchoring Assembly (including Anti-tracking Device and Socket Eye) |  | set | 89 | 33 | 75 | 15 | 212
4 | Polymeric Pin Ties, and Top Ties |  | set | 89 | 33 | 75 | 15 | 212
5 | Insulation Piercing Connectors (IPC) - Type 1 |  | set | 89 | 33 | 75 | 15 | 212
6 | Insulation Piercing Connectors (IPC) - Type 2 |  | set | 89 | 33 | 75 | 15 | 212
7 | Insulation Piercing Connectors (IPC) - Type 3 |  | set | 41 | 39 | 32 | 38 | 150
0
A.2 | Poles and Accessories | [6 empty] | 0
A.2.1 | PSC Pole and Accessories | [6 empty] | 0
1 | 11m PSC Pole |  | nos. | 0 | 623 | 0 | 284 | 907
2 | Back Strap |  | nos. | 0 | 1683 | 0 | 767 | 2450
3 | Bolts with suitable nuts and washers (M16 x 100 mm) |  | nos. | 0 | 7726 | 0 | 3522 | 11248
4 | Bolts with suitable nuts and washers (M16 x 235 mm) |  | nos. | 0 | 187 | 0 | 86 | 273
5 | Bolts with suitable nuts and washers (M16 x 50 mm) |  | nos. | 0 | 1402 | 0 | 639 | 2041
6 | Disc Type Insulatorfor 11 kV |  | set | 0 | 1683 | 0 | 767 | 2450
7 | Flat Crossarm Brace 11 kV (50 x 6 x 666 mm) |  | nos. | 0 | 2056 | 0 | 938 | 2994
8 | Insulator Pin for Pin Insulator of 11 kV |  | set | 0 | 2804 | 0 | 1278 | 4082
9 | Pin Type Insulator for 11 kV |  | nos. | 0 | 2804 | 0 | 1278 | 4082
10 | Pole Clamp with Nut, bolt and washers (PC1), Clamp Section (50 x 6 mm) |  | set | 0 | 1028 | 0 | 469 | 1497
11 | Pole Clamp with Nut, bolt and washers (PC2), Clamp Section (50 x 6 mm) |  | set | 0 | 686 | 0 | 313 | 999
12 | Pole Clamp with Nut, bolt and washers, Bottom Bracing (PC5), Clamp Section (50 x 6 mm) |  | set | 0 | 63 | 0 | 29 | 92
13 | Pole Clamp with Nut, bolt and washers, Top Bracing (PC4), Clamp Section (50 x 6 mm) |  | set | 0 | 63 | 0 | 29 | 92
14 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1800 mm) |  | nos. | 0 | 63 | 0 | 29 | 92
15 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1900 mm) |  | nos. | 0 | 281 | 0 | 128 | 409
16 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2416 mm) |  | nos. | 0 | 32 | 0 | 15 | 47
17 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2919 mm) |  | nos. | 0 | 63 | 0 | 29 | 92
18 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 3300 mm) |  | nos. | 0 | 281 | 0 | 128 | 409
19 | Strap for Insulator String for 11 kV (100 x 5 x 350 mm) |  | set | 0 | 281 | 0 | 128 | 409
20 | Offset Cross-Arm for Covered Conductor with all accessories complete |  | set | 0 | 373.8 | 0 | 170.4 | 544.2
0
A.2.2 | STP Pole and Accessories - Single Circuit | [6 empty] | 0
1 | 11 M Steel Tubular Pole |  | nos. | 1405 | 0 | 1189 | 0 | 2594
2 | Back Strap |  | nos. | 1897 | 0 | 1606 | 0 | 3503
3 | Bolts with suitable nuts and washers (M16 x 100 mm) |  | nos. | 7728 | 0 | 6540 | 0 | 14268
4 | Bolts with suitable nuts and washers (M16 x 235 mm) |  | nos. | 141 | 0 | 119 | 0 | 260
5 | Bolts with suitable nuts and washers (M16 x 50 mm) |  | nos. | 1686 | 0 | 1427 | 0 | 3113
6 | Disc Type Insulatorfor 11 kV |  | set | 1897 | 0 | 1606 | 0 | 3503
7 | Flat Crossarm Brace 11 kV (50 x 6 x 666 mm) |  | nos. | 1546 | 0 | 1308 | 0 | 2854
8 | Insulator Pin for Pin Insulator of 11 kV |  | set | 3162 | 0 | 2676 | 0 | 5838
9 | Pin Type Insulator for 11 kV |  | nos. | 3162 | 0 | 2676 | 0 | 5838
10 | Pole Clamp with Nut, bolt and washers (TC1), Clamp Section as per design and drawings |  | set | 2319 | 0 | 1962 | 0 | 4281
11 | Pole Clamp with Nut, bolt and washers (TC2), Clamp Section as per design and drawings |  | set | 1546 | 0 | 1308 | 0 | 2854
12 | Pole Clamp with Nut, bolt and washers, Bottom Bracing (TC5), Clamp Section as per design and drawings |  | set | 141 | 0 | 119 | 0 | 260
13 | Pole Clamp with Nut, bolt and washers, Top Bracing (TC4), Clamp Section as per design and drawings |  | set | 141 | 0 | 119 | 0 | 260
14 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1800 mm) |  | nos. | 141 | 0 | 119 | 0 | 260
15 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1900 mm) |  | nos. | 633 | 0 | 536 | 0 | 1169
16 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2416 mm) |  | nos. | 71 | 0 | 60 | 0 | 131
17 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2919 mm) |  | nos. | 141 | 0 | 119 | 0 | 260
18 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 3300 mm) |  | nos. | 633 | 0 | 536 | 0 | 1169
19 | Strap for Insulator String for 11 kV (100 x 5 x 350 mm) |  | set | 422 | 0 | 357 | 0 | 779
20 | Offset Cross-Arm for Covered Conductor with all accessories complete |  | set | 281 | 0 | 237.8 | 0 | 518.8
0
A.2.3 | STP Pole and Accessories - Double Circuit | [6 empty] | 0
1 | 11 m Steel Tubular Pole |  | nos. | 1249 | 461 | 1057 | 211 | 2978
2 | Back Strap |  | nos. | 3373 | 1245 | 2854 | 570 | 8042
3 | Bolts with suitable nuts and washers (M16 x 100 mm) |  | nos. | 15488 | 5717 | 13107 | 2617 | 36929
4 | Bolts with suitable nuts and washers (M16 x 235 mm) |  | nos. | 375 | 139 | 318 | 64 | 896
5 | Bolts with suitable nuts and washers (M16 x 50 mm) |  | nos. | 2811 | 1038 | 2379 | 475 | 6703
6 | Disc Type Insulatorfor 11 kV |  | set | 3373 | 1245 | 2854 | 570 | 8042
7 | Flat Crossarm Brace 11 kV (50 x 6 x 666 mm) |  | nos. | 4122 | 1522 | 3489 | 697 | 9830
8 | Insulator Pin for Pin Insulator of 11 kV |  | set | 5621 | 2075 | 4757 | 950 | 13403
9 | Interconnecting Clamp for MVCC |  | set | 750 | 277 | 635 | 127 | 1789
10 | Pin Type Insulator for 11 kV |  | nos. | 5621 | 2075 | 4757 | 950 | 13403
11 | Pole Clamp with Nut, bolt and washers (TC1), Clamp Section as per design and drawings |  | set | 5434 | 2006 | 4598 | 918 | 12956
12 | Pole Clamp with Nut, bolt and washers (TC2), Clamp Section as per design and drawings |  | set | 2061 | 761 | 1745 | 349 | 4916
13 | Pole Clamp with Nut, bolt and washers, Bottom Bracing (TC5), Clamp Section as per design and drawings |  | set | 125 | 47 | 106 | 22 | 300
14 | Pole Clamp with Nut, bolt and washers, Top Bracing (TC4), Clamp Section as per design and drawings |  | set | 125 | 47 | 106 | 22 | 300
15 | Preformed Pin Ties, Top Ties |  | set | 5621 | 2075 | 4757 | 950 | 13403
16 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1600 mm) |  | nos. | 63 | 24 | 53 | 11 | 151
17 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1640 mm) |  | nos. | 63 | 24 | 53 | 11 | 151
18 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1700 mm) |  | nos. | 2623 | 969 | 2220 | 444 | 6256
19 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2500 mm) |  | nos. | 1499 | 554 | 1269 | 254 | 3576
20 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2610 mm) |  | nos. | 125 | 47 | 106 | 22 | 300
21 | Strap for Insulator String for 11 kV (100 x 5 x 350 mm) |  | set | 563 | 208 | 476 | 95 | 1342
22 | Tension Set with Ball and Socket Eye |  | set | 3373 | 1245 | 2854 | 570 | 8042
23 | Offset Cross-Arm for Covered Conductor with all accessories complete |  | set | 499.6 | 553.2 | 422.8 | 253.2 | 1728.8
0
A.2.4 | Stays | [6 empty] | 0
1 | Pole Clamp with Nut, bolt and washers (PC3), Clamp Section as per design and drawings |  | set | 0 | 125 | 0 | 57 | 182
2 | Pole Clamp with Nut, bolt and washers (TC3), Clamp Section as per design and drawings |  | set | 1062 | 93 | 899 | 43 | 2097
3 | Bolts with suitable nuts and washers (M16 x 50 mm) |  | nos. | 2124 | 436 | 1798 | 200 | 4558
4 | Bolts with suitable nuts and washers (M16 x 100 mm) |  | nos. | 2124 | 436 | 1798 | 200 | 4558
5 | Stay Wire, (7/10 SWG minimum) |  | kg | 10620 | 2180 | 8990 | 1000 | 22790
6 | Stay/Guy Insulator |  | nos. | 1062 | 218 | 899 | 100 | 2279
7 | Stay Turn Buckle including Thimble, (18 SWG minimum) |  | nos. | 1062 | 218 | 899 | 100 | 2279
8 | Stay I bolt, (12 inch minimum) |  | nos. | 1062 | 218 | 899 | 100 | 2279
9 | Stay I Rod/Anchor Rod, (minimum 1600 mm) |  | nos. | 1062 | 218 | 899 | 100 | 2279
10 | Bow set with Thimble |  | nos. | 1062 | 218 | 899 | 100 | 2279
11 | Stay Grip |  | nos. | 1062 | 218 | 899 | 100 | 2279
12 | Galvanized Steel Stay Plate for Installation Underground, (600 x 600 x 6 mm minimum) |  | nos. | 1062 | 218 | 899 | 100 | 2279
0
A.3 | Special Components | [6 empty] | 0
1 | Power Arc Devices (3 Nos. per set) |  | set | 89 | 33 | 75 | 15 | 212
2 | 13 m Steel Tubular Pole |  | nos. | 5 | 5 | 5 | 5 | 20
3 | 14.5 m Steel Tubular Pole |  | nos. | 5 | 5 | 5 | 5 | 20
0
0

## S-1-B
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad (Excluding Custom Duty and VAT payable in Employer's country)
FC: EUR
Item | Description | Country of Origin | Unit | Quantity |  |  |  | Total Quantity | Unit Price (CIP Project Site), Foreign Currency |  |  |  | Total Price
|  |  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Foreign Currency
1 | 2 | 3 | 4 | 5 |  |  |  | 6 = Σ5 | 7 |  |  |  | 8 = Σ(π(5 x 7))
|  |  |  | A | B | C | D |  | A | B | C | D
B. | Distribution Transformer and Switchgear Components | [6 empty] | 0
B.1 | Distribution Transformer | [6 empty] | 0
1 | 11/0.4kV 5 kVA 1 ph. Distribution Transformer |  | set | 0 | 0 | 0 | 0 | 0
2 | 11/0.4kV 10 kVA 1 ph. Distribution Transformer |  | set | 0 | 0 | 0 | 0 | 0
3 | 11/0.4kV 16 kVA 1 ph. Distribution Transformer |  | set | 0 | 0 | 0 | 0 | 0
4 | 11/0.4kV 25kVA 3 ph. Distribution Transformer |  | set | 34 | 0 | 27 | 0 | 61
5 | 11/0.4kV 50kVA 3 ph. Distribution Transformer |  | set | 6 | 9 | 4 | 9 | 28
6 | 11/0.4kV 100kVA 3 ph. Distribution Transformer |  | set | 0 | 29 | 0 | 28 | 57
7 | 11/0.4kV 200kVA 3 ph. Distribution Transformer |  | set | 1 | 1 | 1 | 1 | 4
8 | 11/0.4kV 300kVA 3 ph. Distribution Transformer |  | set | 1 | 1 | 1 | 1 | 4
0
B.2 | Transformer Platform | [6 empty] | 0
1 | Transformer Platform for 5 kVA, Single phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete |  | set | 0 | 0 | 0 | 0 | 0
2 | Transformer Platform for 10 kVA, Single phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete |  | set | 0 | 0 | 0 | 0 | 0
3 | Transformer Platform for 16kVA, Single phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete |  | set | 0 | 0 | 0 | 0 | 0
4 | Transformer Platform for 25 kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete |  | set | 34 | 0 | 27 | 0 | 61
5 | Transformer Platform for 50kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete |  | set | 6 | 9 | 4 | 9 | 28
6 | Transformer Platform for 100 kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete |  | set | 0 | 29 | 0 | 28 | 57
7 | Transformer Platform for 200 kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete |  | set | 1 | 1 | 1 | 1 | 4
8 | Transformer Platform for 300 kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete |  | set | 1 | 1 | 1 | 1 | 4
0
B.3 | Surge Protection Devices and Accessories | [6 empty] | 0
1 | Surge Arrester for Single Phase Transformer Installation |  | set | 0 | 0 | 0 | 0 | 0
2 | 9 kV Surge Arrester |  | set | 42 | 40 | 33 | 39 | 154
3 | Drop Out Fuse of suitable Capacity for Single Phase Transformer Installation |  | set | 0 | 0 | 0 | 0 | 0
4 | Drop Out Fuse of suitable Capacity |  | set | 42 | 40 | 33 | 39 | 154
5 | Outdoor Pole Mounted Distribution Panel Board (with 25A 2P MCCB-1Nos with Copper Busbars and Hardware) Complete Set |  | set | 0 | 0 | 0 | 0 | 0
6 | Outdoor Pole Mounted Distribution Panel Board (with 50A 2P MCCB-1Nos with Copper Busbars and Hardware) Complete Set |  | set | 0 | 0 | 0 | 0 | 0
7 | Outdoor Pole Mounted Distribution Panel Board (with 80A 2P MCCB-1Nos with Copper Busbars and Hardware) Complete Set |  | set | 0 | 0 | 0 | 0 | 0
8 | Outdoor Pole Mounted Distribution Panel Board (with 50A TP MCCB-1Nos, 32A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set |  | set | 34 | 0 | 27 | 0 | 61
9 | Outdoor Pole Mounted Distribution Panel Board (with 80A TP MCCB-1Nos, 50A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set |  | set | 6 | 9 | 4 | 9 | 28
10 | Outdoor Pole Mounted Distribution Panel Board (with 160A TP MCCB-1Nos, 80A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set |  | set | 0 | 29 | 0 | 28 | 57
11 | Outdoor Pole Mounted Distribution Panel Board (with 320A TP MCCB-1Nos, 160A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set |  | set | 1 | 1 | 1 | 1 | 4
12 | Outdoor Pole Mounted Distribution Panel Board (with 500A TP MCCB-1Nos, 250A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set |  | set | 1 | 1 | 1 | 1 | 4
13 | LT PVC Cable, (Al. 2 Core, 35 sq mm, Armored) |  | m | 0 | 0 | 0 | 0 | 0
14 | LT PVC Cable, (Al. 4 Core, 50 sq mm, Armored) |  | m | 200 | 45 | 155 | 45 | 445
15 | LT PVC Cable, (Al. 4 Core, 120 sq mm, Armored) |  | m | 0 | 145 | 0 | 140 | 285
16 | LT PVC Cable, (Al. 4 Core, 300 sq mm, Armored) |  | m | 10 | 10 | 10 | 10 | 40
0
B.4 | Switchgear, Data Instrumentation System and Accessories | [6 empty] | 0
1 | Load Break Switch |  | set | 14 | 5 | 12 | 2 | 33
2 | Transformer Data Instrumentation System with every minute data logging and transfer to Server at Regional Control Centre and programmed locations as per specifications all complete - Single Phase, with IP 67 Box, platform and connection system (Current, Voltage, Power, Power Factor, THD, Oil Temperature, Status, Daily Load Curve, local storage and transfer via GSM) |  | set | 0 | 0 | 0 | 0 | 0
3 | Transformer Data Instrumentation System with every minute data logging and transfer to Server at Regional Control Centre and programmed locations as per specifications all complete - 3 Phase, with IP 67 Box, platform and connection system (Current, Voltage, Power, Power Factor, THD, Oil Temperature, Status, Daily Load Curve, local storage and transfer via GSM) |  | set | 42 | 40 | 33 | 39 | 154
4 | Load Break Switch Data Instrumentation System with every minute data logging and transfer to Server at Regional Control Centre and programmed locations as per specifications all complete - 3 Phase, with IP 67 Box, platform and connection system (Current, Voltage, Daily Load Curve, Status, local storage and transfer via GSM) |  | set | 14 | 5 | 12 | 2 | 33

## S-1-C
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 1: Plant and Mandatory Spare Parts Supplied from Abroad (Excluding Custom Duty and VAT payable in Employer's country)
FC: EUR
Item | Description | Country of Origin | Unit | Quantity |  |  |  | Total Quantity | Unit Price (CIP Project Site), Foreign Currency |  |  |  | Total Price
|  |  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Foreign Currency
1 | 2 | 3 | 4 | 5 |  |  |  | 6 = Σ5 | 7 |  |  |  | 8 = Σ(π(5 x 7))
|  |  |  | A | B | C | D |  | A | B | C | D
C | Low Tension Line | [6 empty] | 0
C.1 | Conductor | [6 empty] | 0
1 | Aerial Bundled Cable with Messenger Cable 3 x 120 + 1 x 70 sq mm |  | kms | 0 | 2 | 0 | 2 | 4
2 | Aerial Bundled Cable with Messenger Cable 3 x 95 + 1 x 70 sq mm |  | kms | 29.5031 | 34.3039 | 43.695 | 15.6502 | 123.1522
3 | Aerial Bundled Cable with Messenger Cable 3 x 50 + 1 x 35 sq mm |  | kms | 47.205 | 22.8693 | 69.9121 | 10.4334 | 150.4198
4 | Aerial Bundled Cable with Messenger Cable 3 x 25 + 1 x 25 sq mm |  | kms | 41.3043 | 0 | 61.1731 | 0 | 102.4774
5 | Aerial Bundled Cable with Messenger Cable 2 x 25 sq mm |  | kms | 88.5093 | 0 | 74.9058 | 0 | 163.4151
6 | Overhead ACSR 100 sq mm. with 5% Sag with accessories all complete |  | kms | 2 | 2 | 2 | 2 | 8
7 | Overhead ACSR 50 sq mm. with 5% Sag with accessories all complete |  | kms | 2 | 2 | 2 | 2 | 8
8 | Overhead ACSR 30 sq mm. with 5% Sag with accessories all complete |  | kms | 2 | 2 | 2 | 2 | 8
9 | Mid-Span Cable Connector/Junction Sleeve |  | set | 472.0497 | 228.6928 | 699.1207 | 104.3345 | 1504.1977
0
C.2 | Poles and Accessories | [6 empty] | 0
C.2.1 | PSC Pole and Accessories | [6 empty] | 0
1 | 9 m PSC Pole |  | nos. | 0 | 1362 | 0 | 622 | 1984
2 | Anchor Assembly for Messenger |  | set | 0 | 1362 | 0 | 622 | 1984
3 | Suspension Assembly for Messenger |  | set | 0 | 1090 | 0 | 498 | 1588
4 | Insulated Piercing Connector |  | set | 0 | 7628 | 0 | 3484 | 11112
5 | Angle Plate |  | set | 0 | 477 | 0 | 218 | 695
6 | Eye Nut |  | set | 0 | 545 | 0 | 249 | 794
7 | Insulated Cable Cap |  | set | 0 | 5448 | 0 | 2488 | 7936
8 | Pig Tail with Hexagonal Nuts and Washers (16 x 203 mm) |  | set | 0 | 1362 | 0 | 622 | 1984
9 | Pole Clamp with Nut, Bolt and Washers |  | set | 0 | 273 | 0 | 125 | 398
10 | Twisted Double Eye |  | set | 0 | 409 | 0 | 187 | 596
0
C.2.2 | STP Pole and Accessories | [6 empty] | 0
1 | 8 m Steel Tubular Pole |  | nos. | 4918 | 0 | 4162 | 0 | 9080
2 | Anchor Assembly for Messenger |  | set | 4918 | 0 | 4162 | 0 | 9080
3 | Suspension Assembly for Messenger |  | set | 3935 | 0 | 3330 | 0 | 7265
4 | Insulated Piercing Connector |  | set | 27541 | 0 | 23308 | 0 | 50849
5 | Angle Plate |  | set | 1722 | 0 | 1457 | 0 | 3179
6 | Insulated Cable Cap |  | set | 19672 | 0 | 16648 | 0 | 36320
7 | Pig Tail with Fabricated Eye |  | set | 5410 | 0 | 4579 | 0 | 9989
8 | Pole Clamp with Nut, Bolt and Washers |  | set | 7377 | 0 | 6243 | 0 | 13620
9 | Twisted Double Eye |  |  | 4427 | 0 | 3746 | 0 | 8173
0
C.2.3 | Stays | [6 empty] | 0
1 | Pole Clamp with Nut, bolt and washers (PC3), Clamp Section as per design and drawings |  | nos. | 0 | 273 | 0 | 125 | 398
2 | Pole Clamp with Nut, bolt and washers (TC3), Clamp Section as per design and drawings |  | nos. | 1968 | 0 | 1665 | 0 | 3633
3 | Bolts with suitable nuts and washers (M16 x 50 mm) |  | nos. | 3936 | 546 | 3330 | 250 | 8062
4 | Bolts with suitable nuts and washers (M16 x 100 mm) |  | nos. | 3936 | 546 | 3330 | 250 | 8062
5 | Stay Wire, (7/10 SWG minimum) |  | kg | 19680 | 2730 | 16650 | 1250 | 40310
6 | Stay/Guy Insulator |  | nos. | 1968 | 273 | 1665 | 125 | 4031
7 | Stay Turn Buckle including Thimble, (18 SWG minimum) |  | nos. | 1968 | 273 | 1665 | 125 | 4031
8 | Stay I bolt, (12 inch minimum) |  | set | 1968 | 273 | 1665 | 125 | 4031
9 | Stay I Rod/Anchor Rod, (minimum 1600 mm) |  | nos. | 1968 | 273 | 1665 | 125 | 4031
10 | Bow set with Thimble |  | nos. | 1968 | 273 | 1665 | 125 | 4031
11 | Stay Grip |  | nos. | 1968 | 273 | 1665 | 125 | 4031
12 | Galvanized Steel Stay Plate for Installation Underground, (300 x 300 x 6 mm minimum) |  |  | 1968 | 273 | 1665 | 125 | 4031
0
C.3 | Special Components | [6 empty] | 0
1 | 10 m PSC Pole |  | nos. | 5 | 5 | 5 | 5 | 20
2 | 11 m PSC Pole |  | nos. | 5 | 5 | 5 | 5 | 20
3 | 9 m Steel Tubular Pole |  | nos. | 5 | 5 | 5 | 5 | 20
4 | 10 m Steel Tubular Pole |  | nos. | 5 | 5 | 5 | 5 | 20
5 | 11 m Steel Tubular Pole |  | nos. | 4 | 4 | 4 | 4 | 16
6 | 13 m Steel Tubular Pole | [6 empty] | 0
0
C.4 | Tools and Equipment | [6 empty] | 0
1 | Flat wrench of different sizes for common bolts |  | Sets | 5 | 5 | 5 | 5 | 20
2 | Torque wrench of different sizes for common bolts |  | Sets | 5 | 5 | 5 | 5 | 20
3 | Pipe wrench for common bolts |  | Sets | 5 | 5 | 5 | 5 | 20
4 | Steel ropes (Pilot wire) 35 sq. mm |  | m | 50 | 50 | 50 | 50 | 200
5 | Pilot wire grips (35 sq. mm) come along clamp |  | Nos. | 50 | 50 | 50 | 50 | 200
6 | Rubber covered rollers,pullies(2,3 keys) |  | Sets | 2 | 2 | 2 | 2 | 8
7 | Portable earthing set (for Transmission line maintenance safety purpose) |  | Sets | 5 | 5 | 5 | 5 | 20
8 | Safety belt |  | Sets | 20 | 20 | 20 | 20 | 80
9 | Line operator's leather gloves |  | Pairs | 20 | 20 | 20 | 20 | 80
10 | Safety helmet with chinstrap and accessories |  | Sets | 20 | 20 | 20 | 20 | 80
11 | Insulation tester (10000 V) suitable for outdoor line testing purpose |  | Nos. | 5 | 5 | 5 | 5 | 20
12 | Earth resistivity tester |  | Nos. | 5 | 5 | 5 | 5 | 20
13 | Earthing resistance tester |  | Nos. | 5 | 5 | 5 | 5 | 20
14 | Double sheeve pulley block 5 MT capacity with all accessories |  | Sets | 1 | 1 | 1 | 1 | 4
15 | Sagging Winch 10 MT capacity hand operated |  | Sets | 1 | 1 | 1 | 1 | 4
16 | Grip suitable for ACSR DOG/RABBIT/WEASEL Conductor |  | Sets | 5 | 5 | 5 | 5 | 20
17 | Grip suitable for ADSS Cable |  | Sets | 5 | 5 | 5 | 5 | 20
18 | Grip suitable for ABC Cable |  | Sets | 5 | 5 | 5 | 5 | 20
19 | Safety Ladder for Distribution System Operation |  | Sets | 5 | 5 | 5 | 5 | 20
20 | One Set of complete tools for Maintenance/Replacement Works of Aerial Bunched Cable |  | Sets | 5 | 5 | 5 | 5 | 20

## S-2
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Summary of Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country (Excluding VAT payable in Employer's country)
|  | FC: EUR | LC: NPR
Schedule No. | Title | Total Price
|  | Foreign Currency | Local Currency |  | FC | LC
A. | 11 kV Line |  |  | S-2-A | #N/A | M
B. | Distribution Transformers and Switchgear |  |  | S-2-B | #N/A | M
C. | Low Tension Lines |  |  | S-2-C | #N/A | M
Grand Total to be carried forward to Schedule 5 |  | 0 | 0

## S-2-A
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country (Excluding VAT payable in Employer's country)
LC: NPR
Item | Description | Unit | Quantity |  |  |  | Total Quantity | Unit Price, Local Currency |  |  |  | Total Price
|  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Local Currency
1 | 2 | 3 | 4 |  |  |  | 5 = Σ4 | 6 |  |  |  | 7 = Σ(π(4 x 6))
|  |  | A | B | C | D |  | A | B | C | D
A. | 11 kV Line
A.1 | Conductors
1 | XLPE Overhead Covered Conductor, 100 sq mm. with 5% Sag | kms | 442.5466 | 163.352 | 374.5289 | 74.5246
2 | Mid-Span Joining Sleeve (Covered Conductor. rated min 500A) | set | 842.9459 | 311.1467 | 713.3884 | 141.9516
3 | Tension/Anchoring Assembly (including Anti-tracking Device and Socket Eye) | set | 89 | 33 | 75 | 15
4 | Polymeric Pin Ties, and Top Ties | set | 89 | 33 | 75 | 15
5 | Insulation Piercing Connectors (IPC) - Type 1 | set | 89 | 33 | 75 | 15
6 | Insulation Piercing Connectors (IPC) - Type 2 | set | 89 | 33 | 75 | 15
7 | Insulation Piercing Connectors (IPC) - Type 3 | set | 41 | 39 | 32 | 38
A.2 | Poles and Accessories
A.2.1 | PSC Pole and Accessories
1 | 11m PSC Pole | nos. | 0 | 623 | 0 | 284
2 | Back Strap | nos. | 0 | 1683 | 0 | 767
3 | Bolts with suitable nuts and washers (M16 x 100 mm) | nos. | 0 | 7726 | 0 | 3522
4 | Bolts with suitable nuts and washers (M16 x 235 mm) | nos. | 0 | 187 | 0 | 86
5 | Bolts with suitable nuts and washers (M16 x 50 mm) | nos. | 0 | 1402 | 0 | 639
6 | Disc Type Insulatorfor 11 kV | set | 0 | 1683 | 0 | 767
7 | Flat Crossarm Brace 11 kV (50 x 6 x 666 mm) | nos. | 0 | 2056 | 0 | 938
8 | Insulator Pin for Pin Insulator of 11 kV | set | 0 | 2804 | 0 | 1278
9 | Pin Type Insulator for 11 kV | nos. | 0 | 2804 | 0 | 1278
10 | Pole Clamp with Nut, bolt and washers (PC1), Clamp Section (50 x 6 mm) | set | 0 | 1028 | 0 | 469
11 | Pole Clamp with Nut, bolt and washers (PC2), Clamp Section (50 x 6 mm) | set | 0 | 686 | 0 | 313
12 | Pole Clamp with Nut, bolt and washers, Bottom Bracing (PC5), Clamp Section (50 x 6 mm) | set | 0 | 63 | 0 | 29
13 | Pole Clamp with Nut, bolt and washers, Top Bracing (PC4), Clamp Section (50 x 6 mm) | set | 0 | 63 | 0 | 29
14 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1800 mm) | nos. | 0 | 63 | 0 | 29
15 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1900 mm) | nos. | 0 | 281 | 0 | 128
16 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2416 mm) | nos. | 0 | 32 | 0 | 15
17 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2919 mm) | nos. | 0 | 63 | 0 | 29
18 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 3300 mm) | nos. | 0 | 281 | 0 | 128
19 | Strap for Insulator String for 11 kV (100 x 5 x 350 mm) | set | 0 | 281 | 0 | 128
20 | Offset Cross-Arm for Covered Conductor with all accessories complete | set | 0 | 373.8 | 0 | 170.4
A.2.2 | STP Pole and Accessories - Single Circuit
1 | 11 M Steel Tubular Pole | nos. | 1405 | 0 | 1189 | 0
2 | Back Strap | nos. | 1897 | 0 | 1606 | 0
3 | Bolts with suitable nuts and washers (M16 x 100 mm) | nos. | 7728 | 0 | 6540 | 0
4 | Bolts with suitable nuts and washers (M16 x 235 mm) | nos. | 141 | 0 | 119 | 0
5 | Bolts with suitable nuts and washers (M16 x 50 mm) | nos. | 1686 | 0 | 1427 | 0
6 | Disc Type Insulatorfor 11 kV | set | 1897 | 0 | 1606 | 0
7 | Flat Crossarm Brace 11 kV (50 x 6 x 666 mm) | nos. | 1546 | 0 | 1308 | 0
8 | Insulator Pin for Pin Insulator of 11 kV | set | 3162 | 0 | 2676 | 0
9 | Pin Type Insulator for 11 kV | nos. | 3162 | 0 | 2676 | 0
10 | Pole Clamp with Nut, bolt and washers (TC1), Clamp Section as per design and drawings | set | 2319 | 0 | 1962 | 0
11 | Pole Clamp with Nut, bolt and washers (TC2), Clamp Section as per design and drawings | set | 1546 | 0 | 1308 | 0
12 | Pole Clamp with Nut, bolt and washers, Bottom Bracing (TC5), Clamp Section as per design and drawings | set | 141 | 0 | 119 | 0
13 | Pole Clamp with Nut, bolt and washers, Top Bracing (TC4), Clamp Section as per design and drawings | set | 141 | 0 | 119 | 0
14 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1800 mm) | nos. | 141 | 0 | 119 | 0
15 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1900 mm) | nos. | 633 | 0 | 536 | 0
16 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2416 mm) | nos. | 71 | 0 | 60 | 0
17 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2919 mm) | nos. | 141 | 0 | 119 | 0
18 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 3300 mm) | nos. | 633 | 0 | 536 | 0
19 | Strap for Insulator String for 11 kV (100 x 5 x 350 mm) | set | 422 | 0 | 357 | 0
20 | Offset Cross-Arm for Covered Conductor with all accessories complete | set | 281 | 0 | 237.8 | 0
A.2.3 | STP Pole and Accessories - Double Circuit
1 | 11 m Steel Tubular Pole | nos. | 1249 | 461 | 1057 | 211
2 | Back Strap | nos. | 3373 | 1245 | 2854 | 570
3 | Bolts with suitable nuts and washers (M16 x 100 mm) | nos. | 15488 | 5717 | 13107 | 2617
4 | Bolts with suitable nuts and washers (M16 x 235 mm) | nos. | 375 | 139 | 318 | 64
5 | Bolts with suitable nuts and washers (M16 x 50 mm) | nos. | 2811 | 1038 | 2379 | 475
6 | Disc Type Insulatorfor 11 kV | set | 3373 | 1245 | 2854 | 570
7 | Flat Crossarm Brace 11 kV (50 x 6 x 666 mm) | nos. | 4122 | 1522 | 3489 | 697
8 | Insulator Pin for Pin Insulator of 11 kV | set | 5621 | 2075 | 4757 | 950
9 | Interconnecting Clamp for MVCC | set | 750 | 277 | 635 | 127
10 | Pin Type Insulator for 11 kV | nos. | 5621 | 2075 | 4757 | 950
11 | Pole Clamp with Nut, bolt and washers (TC1), Clamp Section as per design and drawings | set | 5434 | 2006 | 4598 | 918
12 | Pole Clamp with Nut, bolt and washers (TC2), Clamp Section as per design and drawings | set | 2061 | 761 | 1745 | 349
13 | Pole Clamp with Nut, bolt and washers, Bottom Bracing (TC5), Clamp Section as per design and drawings | set | 125 | 47 | 106 | 22
14 | Pole Clamp with Nut, bolt and washers, Top Bracing (TC4), Clamp Section as per design and drawings | set | 125 | 47 | 106 | 22
15 | Preformed Pin Ties, Top Ties | set | 5621 | 2075 | 4757 | 950
16 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1600 mm) | nos. | 63 | 24 | 53 | 11
17 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1640 mm) | nos. | 63 | 24 | 53 | 11
18 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 1700 mm) | nos. | 2623 | 969 | 2220 | 444
19 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2500 mm) | nos. | 1499 | 554 | 1269 | 254
20 | Steel Crossarm Channel (100 x 50 x 7.5 x 4.7 x 2610 mm) | nos. | 125 | 47 | 106 | 22
21 | Strap for Insulator String for 11 kV (100 x 5 x 350 mm) | set | 563 | 208 | 476 | 95
22 | Tension Set with Ball and Socket Eye | set | 3373 | 1245 | 2854 | 570
23 | Offset Cross-Arm for Covered Conductor with all accessories complete | set | 499.6 | 553.2 | 422.8 | 253.2
A.2.4 | Stays
1 | Pole Clamp with Nut, bolt and washers (PC3), Clamp Section as per design and drawings | set | 0 | 125 | 0 | 57
2 | Pole Clamp with Nut, bolt and washers (TC3), Clamp Section as per design and drawings | set | 1062 | 93 | 899 | 43
3 | Bolts with suitable nuts and washers (M16 x 50 mm) | nos. | 2124 | 436 | 1798 | 200
4 | Bolts with suitable nuts and washers (M16 x 100 mm) | nos. | 2124 | 436 | 1798 | 200
5 | Stay Wire, (7/10 SWG minimum) | kg | 10620 | 2180 | 8990 | 1000
6 | Stay/Guy Insulator | nos. | 1062 | 218 | 899 | 100
7 | Stay Turn Buckle including Thimble, (18 SWG minimum) | nos. | 1062 | 218 | 899 | 100
8 | Stay I bolt, (12 inch minimum) | nos. | 1062 | 218 | 899 | 100
9 | Stay I Rod/Anchor Rod, (minimum 1600 mm) | nos. | 1062 | 218 | 899 | 100
10 | Bow set with Thimble | nos. | 1062 | 218 | 899 | 100
11 | Stay Grip | nos. | 1062 | 218 | 899 | 100
12 | Galvanized Steel Stay Plate for Installation Underground, (600 x 600 x 6 mm minimum) | nos. | 1062 | 218 | 899 | 100
A.3 | Special Components
1 | Power Arc Devices (3 Nos. per set) | set | 89 | 33 | 75 | 15
2 | 13 m Steel Tubular Pole | nos. | 5 | 5 | 5 | 5
3 | 14.5 m Steel Tubular Pole | nos. | 5 | 5 | 5 | 5

## S-2-B
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country (Excluding VAT payable in Employer's country)
LC: NPR
Item | Description | Unit | Quantity |  |  |  | Total Quantity | Unit Price, Local Currency |  |  |  | Total Price
|  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Local Currency
1 | 2 | 3 | 4 |  |  |  | 5 = Σ4 | 6 |  |  |  | 7 = Σ(π(4 x 6))
|  |  | A | B | C | D |  | A | B | C | D
B. | Distribution Transformer and Switchgear Components
B.1 | Distribution Transformer
1 | 11/0.4kV 5 kVA 1 ph. Distribution Transformer | set | 0 | 0 | 0 | 0
2 | 11/0.4kV 10 kVA 1 ph. Distribution Transformer | set | 0 | 0 | 0 | 0
3 | 11/0.4kV 16 kVA 1 ph. Distribution Transformer | set | 0 | 0 | 0 | 0
4 | 11/0.4kV 25kVA 3 ph. Distribution Transformer | set | 34 | 0 | 27 | 0
5 | 11/0.4kV 50kVA 3 ph. Distribution Transformer | set | 6 | 9 | 4 | 9
6 | 11/0.4kV 100kVA 3 ph. Distribution Transformer | set | 0 | 29 | 0 | 28
7 | 11/0.4kV 200kVA 3 ph. Distribution Transformer | set | 1 | 1 | 1 | 1
8 | 11/0.4kV 300kVA 3 ph. Distribution Transformer | set | 1 | 1 | 1 | 1
B.2 | Transformer Platform
1 | Transformer Platform for 5 kVA, Single phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete | set | 0 | 0 | 0 | 0
2 | Transformer Platform for 10 kVA, Single phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete | set | 0 | 0 | 0 | 0
3 | Transformer Platform for 16kVA, Single phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete | set | 0 | 0 | 0 | 0
4 | Transformer Platform for 25 kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete | set | 34 | 0 | 27 | 0
5 | Transformer Platform for 50kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete | set | 6 | 9 | 4 | 9
6 | Transformer Platform for 100 kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete | set | 0 | 29 | 0 | 28
7 | Transformer Platform for 200 kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete | set | 1 | 1 | 1 | 1
8 | Transformer Platform for 300 kVA, 3 phase Transformer including DO & LA Fitting Channels, Clamps, Nutbolts all complete | set | 1 | 1 | 1 | 1
B.3 | Surge Protection Devices and Accessories
1 | Surge Arrester for Single Phase Transformer Installation | set | 0 | 0 | 0 | 0
2 | 9 kV Surge Arrester | set | 42 | 40 | 33 | 39
3 | Drop Out Fuse of suitable Capacity for Single Phase Transformer Installation | set | 0 | 0 | 0 | 0
4 | Drop Out Fuse of suitable Capacity | set | 42 | 40 | 33 | 39
5 | Outdoor Pole Mounted Distribution Panel Board (with 25A 2P MCCB-1Nos with Copper Busbars and Hardware) Complete Set | set | 0 | 0 | 0 | 0
6 | Outdoor Pole Mounted Distribution Panel Board (with 50A 2P MCCB-1Nos with Copper Busbars and Hardware) Complete Set | set | 0 | 0 | 0 | 0
7 | Outdoor Pole Mounted Distribution Panel Board (with 80A 2P MCCB-1Nos with Copper Busbars and Hardware) Complete Set | set | 0 | 0 | 0 | 0
8 | Outdoor Pole Mounted Distribution Panel Board (with 50A TP MCCB-1Nos, 32A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set | set | 34 | 0 | 27 | 0
9 | Outdoor Pole Mounted Distribution Panel Board (with 80A TP MCCB-1Nos, 50A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set | set | 6 | 9 | 4 | 9
10 | Outdoor Pole Mounted Distribution Panel Board (with 160A TP MCCB-1Nos, 80A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set | set | 0 | 29 | 0 | 28
11 | Outdoor Pole Mounted Distribution Panel Board (with 320A TP MCCB-1Nos, 160A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set | set | 1 | 1 | 1 | 1
12 | Outdoor Pole Mounted Distribution Panel Board (with 500A TP MCCB-1Nos, 250A 4P MCCB-2Nos with Copper Busbars and Hardware) Complete Set | set | 1 | 1 | 1 | 1
13 | LT PVC Cable, (Al. 2 Core, 35 sq mm, Armored) | m | 0 | 0 | 0 | 0
14 | LT PVC Cable, (Al. 4 Core, 50 sq mm, Armored) | m | 200 | 45 | 155 | 45
15 | LT PVC Cable, (Al. 4 Core, 120 sq mm, Armored) | m | 0 | 145 | 0 | 140
16 | LT PVC Cable, (Al. 4 Core, 300 sq mm, Armored) | m | 10 | 10 | 10 | 10
B.4 | Switchgear, Data Instrumentation System and Accessories
1 | Load Break Switch | set | 14 | 5 | 12 | 2
2 | Transformer Data Instrumentation System with every minute data logging and transfer to Server at Regional Control Centre and programmed locations as per specifications all complete - Single Phase, with IP 67 Box, platform and connection system (Current, Voltage, Power, Power Factor, THD, Oil Temperature, Status, Daily Load Curve, local storage and transfer via GSM) | set | 0 | 0 | 0 | 0
3 | Transformer Data Instrumentation System with every minute data logging and transfer to Server at Regional Control Centre and programmed locations as per specifications all complete - 3 Phase, with IP 67 Box, platform and connection system (Current, Voltage, Power, Power Factor, THD, Oil Temperature, Status, Daily Load Curve, local storage and transfer via GSM) | set | 42 | 40 | 33 | 39
4 | Load Break Switch Data Instrumentation System with every minute data logging and transfer to Server at Regional Control Centre and programmed locations as per specifications all complete - 3 Phase, with IP 67 Box, platform and connection system (Current, Voltage, Daily Load Curve, Status, local storage and transfer via GSM) | set | 14 | 5 | 12 | 2

## S-2-C
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 2: Plant and Mandatory Spare Parts Supplied from Within the Employer’s Country (Excluding VAT payable in Employer's country)
LC: NPR
Item | Description | Unit | Quantity |  |  |  | Total Quantity | Unit Price, Local Currency |  |  |  | Total Price
|  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Local Currency
1 | 2 | 3 | 4 |  |  |  | 5 = Σ4 | 6 |  |  |  | 7 = Σ(π(4 x 6))
|  |  | A | B | C | D |  | A | B | C | D
C | Low Tension Line
C.1 | Conductor
1 | Aerial Bundled Cable with Messenger Cable 3 x 120 + 1 x 70 sq mm | kms | 0 | 2 | 0 | 2
2 | Aerial Bundled Cable with Messenger Cable 3 x 95 + 1 x 70 sq mm | kms | 29.5031 | 34.3039 | 43.695 | 15.6502
3 | Aerial Bundled Cable with Messenger Cable 3 x 50 + 1 x 35 sq mm | kms | 47.205 | 22.8693 | 69.9121 | 10.4334
4 | Aerial Bundled Cable with Messenger Cable 3 x 25 + 1 x 25 sq mm | kms | 41.3043 | 0 | 61.1731 | 0
5 | Aerial Bundled Cable with Messenger Cable 2 x 25 sq mm | kms | 88.5093 | 0 | 74.9058 | 0
6 | Overhead ACSR 100 sq mm. with 5% Sag with accessories all complete | kms | 2 | 2 | 2 | 2
7 | Overhead ACSR 50 sq mm. with 5% Sag with accessories all complete | kms | 2 | 2 | 2 | 2
8 | Overhead ACSR 30 sq mm. with 5% Sag with accessories all complete | kms | 2 | 2 | 2 | 2
9 | Mid-Span Cable Connector/Junction Sleeve | set | 472.0497 | 228.6928 | 699.1207 | 104.3345
C.2 | Poles and Accessories
C.2.1 | PSC Pole and Accessories
1 | 9 m PSC Pole | nos. | 0 | 1362 | 0 | 622
2 | Anchor Assembly for Messenger | set | 0 | 1362 | 0 | 622
3 | Suspension Assembly for Messenger | set | 0 | 1090 | 0 | 498
4 | Insulated Piercing Connector | set | 0 | 7628 | 0 | 3484
5 | Angle Plate | set | 0 | 477 | 0 | 218
6 | Eye Nut | set | 0 | 545 | 0 | 249
7 | Insulated Cable Cap | set | 0 | 5448 | 0 | 2488
8 | Pig Tail with Hexagonal Nuts and Washers (16 x 203 mm) | set | 0 | 1362 | 0 | 622
9 | Pole Clamp with Nut, Bolt and Washers | set | 0 | 273 | 0 | 125
10 | Twisted Double Eye | set | 0 | 409 | 0 | 187
C.2.2 | STP Pole and Accessories
1 | 8 m Steel Tubular Pole | nos. | 4918 | 0 | 4162 | 0
2 | Anchor Assembly for Messenger | set | 4918 | 0 | 4162 | 0
3 | Suspension Assembly for Messenger | set | 3935 | 0 | 3330 | 0
4 | Insulated Piercing Connector | set | 27541 | 0 | 23308 | 0
5 | Angle Plate | set | 1722 | 0 | 1457 | 0
6 | Insulated Cable Cap | set | 19672 | 0 | 16648 | 0
7 | Pig Tail with Fabricated Eye | set | 5410 | 0 | 4579 | 0
8 | Pole Clamp with Nut, Bolt and Washers | set | 7377 | 0 | 6243 | 0
9 | Twisted Double Eye |  | 4427 | 0 | 3746 | 0
C.2.3 | Stays
1 | Pole Clamp with Nut, bolt and washers (PC3), Clamp Section as per design and drawings | nos. | 0 | 273 | 0 | 125
2 | Pole Clamp with Nut, bolt and washers (TC3), Clamp Section as per design and drawings | nos. | 1968 | 0 | 1665 | 0
3 | Bolts with suitable nuts and washers (M16 x 50 mm) | nos. | 3936 | 546 | 3330 | 250
4 | Bolts with suitable nuts and washers (M16 x 100 mm) | nos. | 3936 | 546 | 3330 | 250
5 | Stay Wire, (7/10 SWG minimum) | kg | 19680 | 2730 | 16650 | 1250
6 | Stay/Guy Insulator | nos. | 1968 | 273 | 1665 | 125
7 | Stay Turn Buckle including Thimble, (18 SWG minimum) | nos. | 1968 | 273 | 1665 | 125
8 | Stay I bolt, (12 inch minimum) | set | 1968 | 273 | 1665 | 125
9 | Stay I Rod/Anchor Rod, (minimum 1600 mm) | nos. | 1968 | 273 | 1665 | 125
10 | Bow set with Thimble | nos. | 1968 | 273 | 1665 | 125
11 | Stay Grip | nos. | 1968 | 273 | 1665 | 125
12 | Galvanized Steel Stay Plate for Installation Underground, (300 x 300 x 6 mm minimum) |  | 1968 | 273 | 1665 | 125
C.3 | Special Components
1 | 10 m PSC Pole | nos. | 5 | 5 | 5 | 5
2 | 11 m PSC Pole | nos. | 5 | 5 | 5 | 5
3 | 9 m Steel Tubular Pole | nos. | 5 | 5 | 5 | 5
4 | 10 m Steel Tubular Pole | nos. | 5 | 5 | 5 | 5
5 | 11 m Steel Tubular Pole | nos. | 4 | 4 | 4 | 4
6 | 13 m Steel Tubular Pole
C.4 | Tools and Equipment
1 | Flat wrench of different sizes for common bolts | Sets | 5 | 5 | 5 | 5
2 | Torque wrench of different sizes for common bolts | Sets | 5 | 5 | 5 | 5
3 | Pipe wrench for common bolts | Sets | 5 | 5 | 5 | 5
4 | Steel ropes (Pilot wire) 35 sq. mm | m | 50 | 50 | 50 | 50
5 | Pilot wire grips (35 sq. mm) come along clamp | Nos. | 50 | 50 | 50 | 50
6 | Rubber covered rollers,pullies(2,3 keys) | Sets | 2 | 2 | 2 | 2
7 | Portable earthing set (for Transmission line maintenance safety purpose) | Sets | 5 | 5 | 5 | 5
8 | Safety belt | Sets | 20 | 20 | 20 | 20
9 | Line operator's leather gloves | Pairs | 20 | 20 | 20 | 20
10 | Safety helmet with chinstrap and accessories | Sets | 20 | 20 | 20 | 20
11 | Insulation tester (10000 V) suitable for outdoor line testing purpose | Nos. | 5 | 5 | 5 | 5
12 | Earth resistivity tester | Nos. | 5 | 5 | 5 | 5
13 | Earthing resistance tester | Nos. | 5 | 5 | 5 | 5
14 | Double sheeve pulley block 5 MT capacity with all accessories | Sets | 1 | 1 | 1 | 1
15 | Sagging Winch 10 MT capacity hand operated | Sets | 1 | 1 | 1 | 1
16 | Grip suitable for ACSR DOG/RABBIT/WEASEL Conductor | Sets | 5 | 5 | 5 | 5
17 | Grip suitable for ADSS Cable | Sets | 5 | 5 | 5 | 5
18 | Grip suitable for ABC Cable | Sets | 5 | 5 | 5 | 5
19 | Safety Ladder for Distribution System Operation | Sets | 5 | 5 | 5 | 5
20 | One Set of complete tools for Maintenance/Replacement Works of Aerial Bunched Cable | Sets | 5 | 5 | 5 | 5

## S-3
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 3: Design Services (Excluding VAT applicable in Employer's country)
|  | FC: EUR | LC: NPR
Schedule No. | Title | Total Price |  |  |  |  | Start | End
|  | Foreign | Local |  | FC | LC
A. | 11 kV Line |  |  | S-3-A | G | H | 10 | 12
B. | Distribution Transformers and Switchgear |  |  | S-3-A | G | H | 13 | 17
C. | Low Tension Lines |  |  | S-3-A | G | H | 18 | 28
Grand Total to be carried forward to Schedule 5 |  | 0 | 0

## S-3-A
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 3: Design Services (Excluding VAT applicable in Employer's country)
[6 empty] | FC: EUR | LC: NPR
Item | Description | Unit | Quantity | Unit Price |  | Total Price
|  |  |  | Foreign Currency Portion | Local Currency Portion | Foreign Currency Portion | Local Currency Portion
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4 x 5 | 8 = 4 x 6
A. | 11 kV Line
1 | Preconstruction Survey, Design and Drawings of 11 kV Line as per the scope of the project | kms | 334.9054
2 | As Built Drawings, Testing and Commissioning of 11kV Line as per the scope of the project | kms | 334.9054
B. | Low Tension Lines
1 | Design, Drawings, Identification of Location and Capacity of 11/0.4 kV Distribution Transformer including data communication system, Lightning Arrester, MCCB, earthing, etc. all complete as per the scope of the project | set | 146
2 | As Built Drawings, Testing and Commissioning of 11/0.4 kV Distribution Transformer including data communication system, Lightning Arrester, MCCB, earthing, etc. all complete as per the scope of the project | set | 146
3 | Design, Drawings, Identification of Location and Capacity of Switchgear like load break switches including data communication system as per the scope of the project | set | 24
4 | As Built Drawings, Testing and Commissioning of Switchgear like load break switches including data communication system as per the scope of the project | set | 24
C. | Distribution Transformers and Switchgear
1 | Preconstruction Survey, Design and Drawings of Low Tension Line as per the scope of the project | kms | 442.4369
2 | As Built Drawings, Testing and Commissioning of Low Tension Line as per the scope of the project | kms | 442.4369

## S-4
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 4: Installation and Other Services (Excluding VAT applicable in Employer's country)
|  | FC: EUR | LC: NPR
Schedule No. | Title | Total Price
|  | Foreign Currency | Local Currency |  | FC | LC
A. | 11 kV Line |  |  | S-4-A | #N/A | M
B. | Distribution Transformers and Switchgear |  |  | S-4-B | #N/A | M
C. | Low Tension Lines |  |  | S-4-C | #N/A | M
D. | Environment, Social Corporate Responsibility Works |  |  | S-4-D | D | E
Grand Total to be carried forward to Schedule 5 |  | 0 | 0

## S-4-A
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 4: Installation and Other Services (Excluding VAT applicable in Employer's country)
LC: NPR
Item | Description | Unit | Quantity |  |  |  | Total Quantity | Unit Price, Local Currency |  |  |  | Total Price
|  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Local Currency
1 | 2 | 3 | 4 |  |  |  | 5 = Σ4 | 6 |  |  |  | 7 = Σ(π(4 x 6))
|  |  | A | B | C | D |  | A | B | C | D
A | 11 kV Lines
A.1 | Conductors | [5 empty] | 0
1 | Stringing of Covered Conductor (XLPE insulated, 100 sq.mm. AAC) | kms | 442.5466 | 163.352 | 374.5289 | 74.5246 | 1054.9522
0
A.2 | Poles and accessories |  | 0 |  |  |  | 0
1 | Hardware and transportation of 11 m long PSC including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | Nos. | 0 | 623 | 0 | 284 | 907
2 | Hardware and transportation of 11 m long Steel tubular pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | Nos. | 2654 | 461 | 2246 | 211 | 5572
3 | Stay sets, with stay wire, rod, ties & insulator all complete including transportation to site. | set | 1062 | 218 | 899 | 100 | 2279
4 | Providing and laying of plain cement concrete (PCC) M15 (manual mixed) in foundation complete as per drawing and technical specifications for 11 m STP. | cum | 2342.8424 | 406.9519 | 1982.6767 | 186.2621 | 4918.7331
A.3 | Dismantling Works | [5 empty] | 0
1 | Dismantling of existing HT Poles (Dismantle 11m or 10m or 9m or 8m Wooden, Steel Tubular or PSC Type poles and carry back to office store safely) all complete | Nos. | 10 | 10 | 10 | 10 | 40
2 | Dismantling of existing HT or LT wire (Dismantle and carry back to office store safely) all complete | kms | 2 | 2 | 2 | 2 | 8
0
A.4 | Reconductoring Works | [5 empty] | 0
1 | Recondutoring of 11 kV lines or LT for certain sections as double or single circuit | kms | 10 | 10 | 10 | 10 | 40
2 | Reconnection Works of Service Cable (Single Phase) | set | 10 | 10 | 10 | 10 | 40
3 | Reconnection Works of Service Cable (Three Phase) | set | 10 | 10 | 10 | 10 | 40
0
A.5 | Special Components | [5 empty] | 0
1 | Hardware and transportation of 13 m long Steel tubular pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | set | 5 | 5 | 5 | 5 | 20
2 | Hardware and transportation of 14.5 m long Steel tubular pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | set | 5 | 5 | 5 | 5 | 20
3 | Providing and laying of plain cement concrete (PCC) M15 (manual mixed) in foundation complete as per drawing and technical specifications for 13 m and 14.5 m STP. | cum | 18.4102 | 18.4102 | 18.4102 | 18.4102 | 73.6407

## S-4-B
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 4: Installation and Other Services (Excluding VAT applicable in Employer's country)
LC: NPR
Item | Description | Unit | Quantity |  |  |  | Total Quantity | Unit Price, Local Currency |  |  |  | Total Price
|  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Local Currency
1 | 2 | 3 | 4 |  |  |  | 5 = Σ4 | 6 |  |  |  | 7 = Σ(π(4 x 6))
|  |  | A | B | C | D |  | A | B | C | D
B | Distribution Transformer
B.1 | Distribution Transformer, Distribution Panel Board, Instrumentation System, Cable all complete | [5 empty] | 0
1 | Transformer Installation and Commissioning including Platform, Distribution Panel Board & Cable all complete - 5 kVA, single phase | set | 0 | 0 | 0 | 0 | 0
2 | Transformer Installation and Commissioning including Platform, Distribution Panel Board & Cable all complete - 10 kVA, single phase | set | 0 | 0 | 0 | 0 | 0
3 | Transformer Installation and Commissioning including Platform, Distribution Panel Board & Cable all complete - 16 kVA, single phase | set | 0 | 0 | 0 | 0 | 0
4 | Transformer Installation and Commissioning including Platform, Distribution Panel Board & Cable all complete - 25 kVA, 3 phase | set | 34 | 0 | 27 | 0 | 61
5 | Transformer Installation and Commissioning including Platform, Distribution Panel Board & Cable all complete - 50 kVA, 3 phase | set | 6 | 9 | 4 | 9 | 28
6 | Transformer Installation and Commissioning including Platform, Distribution Panel Board & Cable all complete - 100 kVA, 3 phase | set | 0 | 29 | 0 | 28 | 57
7 | Transformer Installation and Commissioning including Platform, Distribution Panel Board & Cable all complete - 200 kVA, 3 phase | set | 1 | 2 | 1 | 2 | 6
8 | Transformer Installation and Commissioning including Platform, Distribution Panel Board & Cable all complete - 300 kVA, 3 phase | set | 1 | 2 | 1 | 2 | 6
0
B.2 | Switchgear and Accessories | [5 empty] | 0
1 | Surge Arrester Installation and Commissioning all complete | set | 42 | 42 | 33 | 41 | 158
2 | Drop-Out Fuse Installation and Commissioning all complete | set | 42 | 42 | 33 | 41 | 158
3 | Installation of MCCB in Single Phase Transformers (upto 150 A) | set | 0 | 0 | 0 | 0 | 0
4 | Installation of 3 phase MCCB ( upto 350 A) | set | 41 | 40 | 32 | 39 | 152
5 | Installation of 3 phase MCCB (above 350 A) | set | 1 | 2 | 1 | 2 | 6
6 | Supply, Installation and Commissioning of Earthing Set all complete | set | 42 | 42 | 33 | 41 | 158
7 | Supply, Installation and Commissioning of Data Instrumentation System all complete - Single Phase | set | 0 | 0 | 0 | 0 | 0
8 | Supply, Installation and Commissioning of Data Instrumentation System all complete - 3 phase | set | 42 | 42 | 33 | 41 | 158
9 | Installation and Commissioning of Load Break Switches | set | 14 | 5 | 12 | 2 | 33
10 | Supply, Installation and Commissioning of Data Instrumentation System all complete for Load Break Switches | set | 14 | 5 | 12 | 2 | 33

## S-4-C
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 4: Installation and Other Services (Excluding VAT applicable in Employer's country)
LC: NPR
Item | Description | Unit | Quantity |  |  |  | Total Quantity | Unit Price, Local Currency |  |  |  | Total Price
|  |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur |  | Thabang Puntiban | Hakui Hakui | Bagthala Kalinga | Jogikuti Mangalapur | Local Currency
1 | 2 | 3 | 4 |  |  |  | 5 = Σ4 | 6 |  |  |  | 7 = Σ(π(4 x 6))
|  |  | A | B | C | D |  | A | B | C | D
C | Low Tension Lines
C.1 | Stringing of Conductor including all accessories and hardware fittings | [5 empty] | 0
1 | Aerial Bundled Cable with Messenger Cable 3 x 120 + 1 x 70 sq mm | kms | 0 | 2 | 0 | 2 | 4
2 | Aerial Bundled Cable with Messenger Cable 3 x 95 + 1 x 70 sq mm | kms | 29.5031 | 34.3039 | 43.695 | 15.6502 | 123.1522
3 | Aerial Bundled Cable with Messenger Cable 3 x 50 + 1 x 35 sq mm | kms | 47.205 | 22.8693 | 69.9121 | 10.4334 | 150.4198
4 | Aerial Bundled Cable with Messenger Cable 3 x 25 + 1 x 25 sq mm | kms | 41.3043 | 0 | 61.1731 | 0 | 102.4774
5 | Aerial Bundled Cable with Messenger Cable 2 x 25 sq mm | kms | 88.5093 | 0 | 74.9058 | 0 | 163.4151
6 | Overhead ACSR 100 sq mm. with 5% Sag with accessories all complete | kms | 2 | 2 | 2 | 2 | 8
7 | Overhead ACSR 50 sq mm. with 5% Sag with accessories all complete | kms | 2 | 2 | 2 | 2 | 8
8 | Overhead ACSR 30 sq mm. with 5% Sag with accessories all complete | kms | 2 | 2 | 2 | 2 | 8
0
C.2 | Poles and accessories | [5 empty] | 0
1 | Hardware and transportation of 9m long PSC Pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | Nos. | 0 | 1362 | 0 | 622 | 1984
2 | Hardware and transportation of 8m long Steel Tubular Pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | Nos. | 4918 | 0 | 4162 | 0 | 9080
3 | Stay sets, with stay wire, rod, ties & insulator all complete including transportation to site. | set | 1968 | 273 | 1665 | 125 | 4031
4 | Providing and laying of plain cement concrete (PCC) M15 (manual mixed) in foundation complete as per drawing and technical specifications for 9 m STP. | cum | 3388.6987 | 0 | 2867.7845 | 0 | 6256.4832
C.3 | Dismantling Works |  | 0 |  |  |  | 0
1 | Dismantling of existing LT Poles (Dismantle 9m or 8m Wooden, Steel Tubular or PSC Type poles and carry back to office store safely) all complete | set | 10 | 10 | 10 | 10 | 40
2 | Dismantling of existing LT Conductor-4,3 or 2 wire (Dismantle and carry back to office store safely) all complete | kms | 2 | 2 | 2 | 2 | 8
0
C.4 | Reconductoring Works | [5 empty] | 0
1 | Recondutoring of 11 kV lines or LT for certain sections as double or single circuit | kms | 10 | 10 | 10 | 10 | 40
2 | Reconnection Works of Service Cable (Single Phase) | set | 10 | 10 | 10 | 10 | 40
3 | Reconnection Works of Service Cable (Three Phase) | set | 10 | 10 | 10 | 10 | 40
0
C.5 | Special Components | [5 empty] | 0
1 | Hardware and transportation of 10 m long PSC including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | set | 5 | 5 | 5 | 5 | 20
2 | Hardware and transportation of 11 m long PSC pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | set | 5 | 5 | 5 | 5 | 20
3 | Hardware and transportation of 9 m long Steel tubular pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | set | 5 | 5 | 5 | 5 | 20
4 | Hardware and transportation of 10 m long Steel tubular pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | set | 5 | 5 | 5 | 5 | 20
5 | Hardware and transportation of 11 m long Steel tubular pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | set | 4 | 4 | 4 | 4 | 16
6 | Hardware and transportation of 13 m long Steel tubular pole including erection - excavation of footing, making pole vent, placing in footing, backfilling, concreting all complete | set | 2 | 2 | 2 | 2 | 8
7 | Providing and laying of plain cement concrete (PCC) M15 (manual mixed) in foundation complete as per drawing and technical specifications for 10, 11 and 13 m STP. | cum | 9.4795 | 9.4795 | 9.4795 | 9.4795 | 37.918

## S-4-D
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 4: Installation and Other Services (Excluding VAT applicable in Employer's country)
|  |  | FC: EUR | LC: NPR
Item | Description | Unit | Total Price | Total Price |  | S-4-A
|  |  | Foreign Currency | Local Currency
1 | 2 | 4 | 6 | 7
D. | Environmental Mitigation Works
D.1 | Environmental and Social Responsibility Works
1 | Corporate Social Responsibility Works as per the ESMP Reports and as assigned by Client. | lot |  | 0 | 2.5% of Total Cost of Other Components

## S-6
Nepal Electricity Authority
Distribution and Consumer Services Directorate
Distribution System Upgrade and Expansion Project
Schedule of Rates and Prices
Schedule No. 6: Recommended Spare Parts (Excluding Custom Duty and VAT payable in Employer's country)
[5 empty] | FC: EUR | LC: NPR
Item | Description | Quantity | Unit Price |  | Total Price
|  |  | CIP Nepal Border | EXW | Foreign Currency Portion | Local Currency Portion
|  |  | Imported Parts | Local Parts
|  |  | Foreign Currency | Local Currency
1 | 2 | 3 | 4 | 5 | 6 = 3 x 4 | 7 = 3 x 5
TOTAL