## Sch_1
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
OCB No. : PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No. 1A: Plant and Equipment including Mandatory Spares to be supplied from Abroad including Insurance, Clearing, Forwarding and Transportation up to site.
Item No. | Item Description | Estimated |  | CIP Project Site including insurance, clearing, forwarding and transportation to site (Excluding Taxes and Duties applicable in Nepal) |  | REMARKS
FC
|  | Unit | Quantity | Unit Rate | Amount
(1) | (2) | (3) | (5) | (6) | (6)=(3)*(4)x(5)
1 | Design, Fabrication & supply of following types of towers & tower extension parts complete with stubs setting template, step bolts, hangers, D-shackles, bolts & nuts etc but excluding tower accessories such as danger plates, number plates, phase plates, anti-climbing devices( 132 kV LINE)
1.1 | Tower Type QA(Design of (a),(b) and (c) to be provided by Employer)
a | Stubs - 76 Nos./Leg | No. | 76
b | Basic Body- 19 Nos. | No. | 19
c | QA +/- 0M Body Extension-16 Nos. | No. | 16
d | QA +3M Body Extension-3 Nos. | No. | 3
1.2 | Tower Type QB
a | Stub- 32 Nos. | No. | 32
b | Basic Body-8 Nos. | No. | 8
c | QB +/- 0M Body Extension = 6 Nos. | No. | 6
d | QB +3M Body Extension=1 Nos. | No. | 1
e | QB +6M Body Extension=1 Nos. | No. | 1
1.3 | Tower Type QC
a | Stub | No. | 20
b | Basic Body | No. | 5
c | QC +/- 0M Body Extension | No. | 4
d | QC + 3M Body Extension | No. | 1
1.4 | Tower Type QD(Design of (a),(b) and (c) to be provided by Employer)
a | Stub - 20 Nos. | No. | 20
b | Basic Body- 5 Nos. | No. | 5
c | QD +/- 0M Body Extension - 3 Nos. | No. | 3
d | QD +3M Body Extension | No. | 1
e | QD +9M Body Extension | No. | 1
1.5 | Tower Type DD (Design of (a),(b) and (c) to be provided by Employer)
a | Stub - 8 Nos. | No. | 8
b | Basic Body- 2 Nos. | No. | 2
c | DD +6M Body Extension | No. | 2
2 | Supply of Tower Accessories & Earthing
2.1 | Tower Accessories
a | Danger Plate | No. | 36
b | Number Plate | No. | 36
c | Anti Climbing Device | Sets | 36
d | Phase Plate | Sets | 108
e | Circuit Plate | Sets | 144
f | Bird Guards | Sets | 432
g | Aviation signal | Sets | 10
2.2 | Supply of Tower Earthing Material
a | Pipe Type (Set of 4) | sets | 36
b | Counterpoise Type
| i) Counterpoise Type - 25 m | sets | 12
| ii) Counterpoise Type - 50 m | sets | 10
| iii) Counterpoise Type - 100 m | sets | 14
3 | Supply of Line Materials
3.1 | Conductor and Groundwire (10 km)
a | ACSR conductor, code name "BEAR" with armour rod, mid span compression joints, repair sleeves etc to complete the job. | km | 126
b | Steel ground wire with optical fiber (48 core-fiber) including intermediate splice boxes and necessary terminal splice boxes. | km | 10.5
3.2 | Insulator strings with insulators, attachment assemblies and arcing horns all complete for ACSR "BEAR" conductor and attachment assemblies all complete for OPGW
a | Single suspension with 1 composite long rod insulator complete for "BEAR" conductor | Set | 204
b | Double suspension with 2x1 composite long rod insulator complete for "BEAR" conductor | Set | 24
c | Single tension with 1 composite long rod insulator complete for "BEAR" conductor | Set | 288
d | Double tension with 2x1 composite long rod insulator complete for "BEAR" conductor | Set | 120
e | Jumper set with pilot insulators, armour rod complete with all accessories for one tower | Set | 13
f | OPGW suspension preformed assembly complete for one tower | Set | 19
g | OPGW tension preformed assembly complete for one tower (one set/tower) | Set | 34
3.3 | Preformed fittings for OPGW
a | Optical approach cable for New Nepalgunj Substation. | Km | 0.5
b | Optical Distribution Frames and other accessories required for connection with Multiplexer of New Nepalgunj Substation. | Lot | 1
3.4 | Vibration Dampers
a | Stockbridge Vibration damper for BEAR Conductor with preformed armour rods | set | 1270
b | Stockbridge Vibration damper for OPGW overhead ground wire with preformed armour rods | set | 210
4 | Spare Parts
4.1 | Galvanized steel tower with required extension including Stubs
a | Tower type QA+9 | nos. | 1
b | Tower type QB+9 | nos. | 1
c | Tower type QC+9 | nos. | 1
d | Tower type QD+9 | nos. | 1
4.2 | Insulator strings with insulators, attachment assemblies and arcing horns all complete for ACSR "BEAR" conductor and attachment assemblies all complete for OPGW
a | Single suspension with 1 composite long rod insulator complete for "BEAR" conductor | sets | 24
b | Double suspension with 2x1 composite long rod insulator complete for "BEAR" conductor | sets | 24
c | Single tension with 1 composite long rod insulator complete for "BEAR" conductor | sets | 12
d | Double tension with 2x1 composite long rod insulator complete for "BEAR" conductor | sets | 12
e | Jumper set with pilot insulators, armour rod & suitable counter weight complete with all accessories for one tower | sets
f | OPGW suspension preformed assembly complete for one tower | sets | 2
g | OPGW tension preformed assembly complete for one tower (one set/tower) | sets | 1
4.3 | Conductor and accessories
a | Mid span compression sleeves for ACSR "BEAR" conductor | nos. | 35
b | Repair sleeve for ACSR "BEAR" conductor | nos. | 35
c | Stockbridge Vibration Damper for ACSR "BEAR" | nos. | 40
4.4 | Overhead OPGW and accessories
a | Mid span compression sleeve for OPGW | nos. | 6
b | Repair sleeve for OPGW | nos. | 6
c | Optical fiber ground wire | km | 1
d | Optical approach cable | km | 1
e | Vibration Damper for OPGW | set | 12
5 | Tools And Equipment
5.1 | Flat wrench for different size of bolts | sets | 2
5.2 | Pipe wrench for common bolts | sets | 2
5.3 | Come along clamp for BEAR conductor | sets | 4
5.4 | Come along clamp for OPGW | nos. | 4
5.5 | Torque Wrench for different size of bolts | sets | 4
5.6 | Safety belt | sets | 12
5.7 | Portable Hydraulically operated Crimping tools with 2 sets of dies each for Conductor "BEAR", "CARDINAL", "MOOSE", & OPGW | sets | 1
5.8 | Safety helmet | sets | 12
5.9 | Double sheeve pulley block 5 MT capacity complete with all accessories | sets | 4
5.1 | Four sheeve pulley block 10 MT capacity complete with all accessories | sets | 2
5.11 | Sagging Winch Machine 10 MT capacity | sets | 1
5.12 | Earth discharge rod | set | 4
5.13 | 132 kV Line Tester | set | 1
5.14 | Earth resistance tester, battery operated with measuring range 0-1000 ohms minimum, complete with accessories | set | 1
5.15 | Earth Resistivity Tester | Set | 1
5.16 | Steel ropes (Pilot wire) 35 sq. mm | m | 500
5.17 | Rubber covered rollers, pullies (2,3 keys) | sets | 4
5.18 | Line operator's leather gloves | pairs | 4
5.19 | Insulation tester (10000 V) suitable for outdoor line testing purpose | No. | 1
Total of Schedule No.1A to Grand Summary)
Note: The unit rate in this sheet does not include Local Transportation, Insurance and other Incidental services (including port clearance etc.).
Prepared by | Checked by |  |  |  | Approved by

## Sch_2
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No.2A: Plant and Equipment including Mandatory Spares Parts to be supplied from within Nepal | [7 empty] | LC: Local Currency (NRs)
Item No. | Item description | Unit | Quantity | Ex Faxtory Price (Excluding VAT) in LC |  | Inland transportation to site in LC |  | Total Amount (Excluding Taxes ) | VAT and other taxes | Remarks
|  |  |  | Unit Rate | Amount | Unit Rate | Amount
1 | 2 | 3 | 4 | 5 | 6 = (4) x (5) | 7 | 8=(4)x(7) | 9=6+8 | 10
Total of Schedule- 2A
Note : | 1) Bidder is required to quote prices in this Schedule for all the items in Schedule 1 which they wish to supply from within Nepal.
2.) The Prices of equipments are inclusive of type test charges
# | Specify currency in accordance with BDS ITB Clause 32.1, Part-I of the Bidding Documents.
* | Strike-out whichever is not applicable.
a Specify currency in accordance with ITB 19.1 of the BDS.
b Column 5 Price shall include all customs duties and sales and other taxes already paid or payable on the components and raw materials used in the manufacture or assembly of the item or the customs duties and sales and other taxes already paid on previously imported items.
| Name of Bidder: |  |  |  |  | Date:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)

## Sch_3
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule 3A: Design Services
Item No. | Item Description | Estimated |  | Unit Price |  | Total Price |  | Remarks
|  | Unit | Quantity | Local Currency Portion (LC) | Foreign Currency Portion (FC) | Local Currency Portion (LC) | Foreign Currency Portion (FC)
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4x5 | 8 = 4x6
1 | Design of Tower
a | Tower Type QB with extension +9m | lot | 1
b | Tower Type QC with extension +9m | lot | 1
c | Extension of 9m for Tower Type QA | lot | 1
d | Extension of 9m for Tower Type QD | lot | 1
Total design cost
Total of Schedule -3A
NOTE: Except for 11 kV Line, design Services and Prototype Testing costs of all other items shall be include in Schedule-1 or in Schedule-2 by the bidder.
Name of Bidder:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)

## Sch_4(a)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
OCB No. : PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No. 4A(a): Installation, Testing & Commissioning Services and Civil Works
Item No. | Item Description | Estimated |  | Construction and Installation (Excluding Taxes) |  | REMARKS
LC
|  | Unit | Quantity | Unit Rate | Amount
(1) | (2) | (3) | (4) | (5) | (6)=(4)x(5)
1 | Survey
a | Check survey and review of profile including L/R profile in undulation, tower spotting, staking of tower locations and survey on tower location where required. | Km. | 10
b | Detail Survey and associated works at few locations. | Km. | 2
c | Preparation of Land Parcel data for tower pad and ROW lands | Set | 1
2 | Soil Investigation
a | All kinds of Soils except fissured rock & hard rock | Loc. | 15
b | Fissured Rock (Both dry and wet) | Loc. | 10
c | Hard Rock | Loc. | 1
d | River Crossing | Loc. | 2
e | Furnishing Bore Log Data | Loc. | 8
f | Measurement of ground resistance | Loc. | 36
3 | Benching
a | Normal Soil | Cum. | 1500
b | Fissured Rock | Cum. | 500
c | Hard Rock | Cum. | 50
4 | Erection of towers & its body extensions (Complete) including bolts & nuts, tack welding and supply and application of enamel & zinc rich paint
4.1 | Tower Type QA(Design of (a),(b) and (c) to be provided by Employer)
a | Stubs - 76 Nos./Leg | No. | 76
b | Basic Body- 19 Nos. | No. | 19
d | QA +/- 0M Body Extension-16 Nos. | No. | 16
e | QA +3M Body Extension-3 Nos. | No. | 3
4.2 | Tower Type QB
a | Stub- 32 Nos. | No. | 32
b | Basic Body-8 Nos. | No. | 8
d | QB +/- 0M Body Extension = 6 Nos. | No. | 6
e | QB +3M Body Extension=1 Nos. | No. | 1
f | QB +6M Body Extension=1 Nos. | No. | 1
4.3 | Tower Type QC
a | Stub | No. | 20
b | Basic Body | No. | 5
d | QC +/- 0M Body Extension | No. | 4
e | QC + 3M Body Extension | No. | 1
4.4 | Tower Type QD(Design of (a),(b) and (c) to be provided by Employer)
a | Stub - 20 Nos. | No. | 20
b | Basic Body- 5 Nos. | No. | 5
d | QD +/- 0M Body Extension - 3 Nos. | No. | 3
e | QD +3M Body Extension | No. | 1
f | QD +9M Body Extension | No. | 1
4.4 | Tower Type DD
a | Stub - 8 Nos. | No. | 8
b | Basic Body- 2 Nos. | No. | 2
e | DD +6M Body Extension | No. | 2
5 | Work associated with installation of tower foundations with excavation and backfilling
5.1 | Tower Type QA (for all type of body extensions)
a | Dry Soil | No. | 3
b | Wet Soil | No. | 8
c | Fully Submerged Soil | No. | 10
d | Dry Fissured Rock | No. | 1
e | Wet Fissured Rock | No. | 1
f | Submerged Fissured Rock | No. | 1
g | Hard Rock | No. | 1
5.2 | Tower Type QB (for all type of body and leg extensions)
a | Dry Soil | No. | 4
b | Wet Soil | No. | 2
c | Fully Submerged Soil | No. | 2
d | Dry Fissured Rock | No. | 1
e | Wet Fissured Rock | No. | 1
f | Submerged Fissured Rock | No. | 1
g | Hard Rock | No. | 1
5.3 | Tower Type QC (for all type of body and leg extensions)
a | Dry Soil | No. | 1
b | Wet Soil | No. | 2
c | Fully Submerged Soil | No. | 2
d | Dry Fissured Rock | No. | 1
e | Wet Fissured Rock | No. | 1
f | Submerged Fissured Rock | No. | 1
g | Hard Rock | No. | 1
5.4 | Tower Type QD (for all type of body and leg extensions)
a | Dry Soil | No. | 1
b | Wet Soil | No. | 1
c | Fully Submerged Soil | No. | 2
d | Dry Fissured Rock | No. | 1
e | Wet Fissured Rock | No. | 1
f | Submerged Fissured Rock | No. | 1
g | Hard Rock |  | 1
5.4 | Tower Type DD (for all type of body and leg extensions)
a | Dry Soil | No.
b | Wet Soil | No. | 2
c | Fully Submerged Soil | No.
d | Dry Fissured Rock | No.
e | Wet Fissured Rock | No.
f | Submerged Fissured Rock | No.
g | Hard Rock | No.
6 | Installation of Tower Accessories & Earthing
6.1 | Tower Accessories
a | Danger Plate | No. | 36
b | Number Plate | No. | 36
c | Anti Climbing Device | Sets | 36
d | Phase Plate | Sets | 108
e | Circuit Plate | Sets | 144
f | Bird Guards | Sets | 432
g | Aviation signal | Sets | 10
6.2 | Installation of Tower Earthing Material
a | Pipe Type (Set of 4) | sets | 36
Counterpoise Type
b | i) Counterpoise Type - 25 m | sets | 12
| ii) Counterpoise Type - 50 m | sets | 10
| iii) Counterpoise Type - 100 m | sets | 14
7 | Installation of Line Materials
7.1 | Stringing of Conductor and Groundwire including jumpering
a | Stringing of 10 km, 132 kV Double circuit transmission line ACSR conductor (Loop In Loop Out) in 4-ckt tower, code name "BEAR" with armour rod, mid span compression joints, repair sleeves etc to complete the job | km | 10
b | Stringing of 10 km, steel ground wire with optical fiber (48-fiber) including intermediate splice boxes and necessary terminal splice boxes, etc. | km | 10
7.2 | Insulator strings with insulators, attachment assemblies and arcing horns all complete for ACSR "Bear" conductor and attachment assemblies all complete for OPGW
a | Single suspension with 1 composite long rod insulator complete for "BEAR" conductor | Set | 204
b | Double suspension with 2x1 composite long rod insulator complete for "BEAR" conductor | Set | 24
c | Single tension with 1 composite long rod insulator complete for "BEAR" conductor | Set | 288
d | Double tension with 2x1 composite long rod insulator complete for "BEAR" conductor | Set | 120
e | Jumper set with pilot insulators, armour rod complete with all accessories for one tower | Set | 13
f | OPGW suspension preformed assembly complete for one tower | Set | 19
g | OPGW tension preformed assembly complete for one tower (one set/tower) | Set | 34
7.3 | Installation of Preformed fittings for OPGW
a | Optical approach cable for New Nepalgunj Substation. | Km | 0.5
b | Optical Distribution Frames and other accessories required for connection with Multiplexer of New Nepalgunj Substation. | Lot | 1
7.4 | Installation of Vibration Dampers
a | Stockbridge Vibration damper for BEAR Conductor with preformed armour rods | set | 1270
b | Stockbridge Vibration damper for OPGW overhead ground wire with preformed armour rods | set | 210
8 | Protection of tower footing
a | Random rubble stone masonry including excavation (1:4 cement: sand) | CUM | 500
b | Stone bound in galvanizing wire netting including excavation (Gabion box protection) | CUM | 500
c | Back filling and leveling of volumes enclosed by revetment | CUM | 200
d | M20 Conc. Nominal Mix 1:1.5:3 for protection work. | CUM | 200
e | Reinforcement Bars | tons | 1
Total of Schedule No. 4A(a) to Grand Summary)
Note: The unit rate in this sheet does not include Local Transportation, Insurance and other Incidental services (including port clearance etc.).
Prepared by | Checked by |  |  |  | Approved by

## Sch_4(b)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No. 4A: Installation and Other Services (Common for all)
(b):Training Charges for training to be imparted to Employer's Personnel by Bidder's Instructor in Abroad
Sl. No. | Description | Item for which training is to be imparted. | Country where training is to be imparted | Nos. of Trainee | Training duration in days | Total Training Charges |  | Remarks
[6 empty] | Charges (FC) | Total Training Charges (FC)
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 = 5 x 7
Training Charges for the trainings to be imparted abroad to Employers personnels
Not Applicable
Total for Training Charges
Total of Schedule- 4A(b)
REMARKS: 1. Training at Manufacturer’s works: The Bidder/Contractor shall include in the training charges payment of per Diem allowance to Employer's Personnel (NEA trainees) @ USD 150 per day per trainee for the duration of training abroad towards accommodation, meals and other incidental expenses and to and fro economy class air ticket from Nepal to place of training. The duration of training shall be excluding travelling period.

## Sch_4(c)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No. 4A : Installation and Other Services (Common for all)
(c):Training Charges for training to be imparted to Employer's Personnel by Bidder's Instructor in Nepal
Sl. No. | Description of the Test | Item for which training is to be imparted. | Training duration in days | Currency | Training Charges for Contractors Trainers |  | Remarks
[5 empty] | Unit rate (LC) | Total Training Charges (LC)
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4x 6
Not Applicable
Total for Training Charges
Total of Schedule- 4 A(c) | [5 empty] | 0
REMARKS: 2. On Job Training in Nepal: The traveling and living expenses of Employer’s personnel for the training programme conducted in Nepal shall be borne by the Employer (Owner).

## Sch_4(d)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No. 4A : Installation and Other Services (Common for all)
(d): Maintenance Charges
Sl No | Description | Unit | Qty. | Total Maintenance Charges |  |  | Remarks
|  |  |  | Currency | Unit Rate (LC) | Total Maintenance Charges (NPR)
| 1 | 2 | 3 | 4 |  | 5
Total Maintenance Charges
| Total of Schedule- 4A (d) |  |  |  |  | 0

## Sch_4(e)
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No. 4A : Installation and Other Services (Common for all)
(e) : Prototype Testing of Tower
Item No. | Item Description | Estimated |  | Unit Price |  | Total Price |  | Remarks
|  | Unit | Quantity | Local Currency Portion (LC) | Foreign Currency Portion (FC) | Local Currency Portion (LC) | Foreign Currency Portion (FC)
1 | 2 | 3 | 4 | 5 | 6 | 7 = 4x5 | 8 = 4x6
1 | Proto Type Testing of Towers
a | Tower Type QB with extension +9m | No. | 1
b | Tower Type QC with extension +9m | No. | 1
Total Testing cost
Total of Schedule -4A (e)
NOTE: Except for 11 kV Line, design Services and Prototype Testing costs of all other items shall be include in Schedule-1 or in Schedule-2 by the bidder.
Name of Bidder:
Signature of Bidder:
(Printed Name)
(Designation)
(Common Seal)

## Sch_5
NEPAL ELECTRICITY AUTHORITY
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No. 5A: Grand Summary
Sl. No. | Description | Total Amount |  | Remarks
|  | Total Price Foreign ( FC )* | Total Price Local (LC)*
1 | TOTAL SCHEDULE NO. 1A
Plant and Equipment including Mandatory Spares to be supplied from abroad, including Type Test Charges for Type Tests to be conducted abroad.
2 | TOTAL SCHEDULE NO. 2A
Plant and Equipment including Mandatory Spares Parts to be supplied from within Nepal including Type Test Charges
3 | TOTAL SCHEDULE NO. 3A
Design Services
4 | TOTAL SCHEDULE NO. 4A
a. Installation Charges and construction charges
b. Training Charges for Training to be imparted abroad
c. Training Charges for Training to be imparted in Nepal
d. Maintenance charges
e.Prototype Testing of Towers
GRAND TOTAL [1A+2A+3A+4A(a)+4A(b)+4A(c)+4A(d)+4A(e)]

## Sch_6
Project Management Directorate
Project Management Directorate
Kohalpur-Nepalgunj 132 kV Transmission Line Project
Electricity Grid Modernization Project - Additional Financing
PMD/EGMPAF/KNTLP-079/80-01:Design, Supply, Installation,Testing and Commissioning of 132 kV Transmission Line and Associated Air Insulated Substation (AIS) at Bakaspur, Janaki Rural Municipality, Banke District (Package A-3)
Schedule No. 6A: Recommended Availability/Optional Spares Parts and recommended Test Equipment in line with technical Specifications
Item No. | Name & Description of Parts | Name of Original Manufacturer | Part No. | Number of Units in each set | Total No. of Sets to be provided | Unit Price | Total Price | Remarks